LA-ICP-MS U-(Th-)Pb Geochronology TAPP

A Comparative Experiment in AI-Led vs. Human-Led

Analytical Metadata Standard Development

Astromat / EarthChem TAPP Development Program

July 2026

Prepared for review by LA-ICP-MS geochronology domain experts

# Executive Summary

This report documents an experiment in generating a Technique-Aligned Procedure Profile (TAPP) for LA-ICP-MS U-(Th-)Pb geochronology directly from Table 3 of Horstwood et al. (2016) — a community reporting standard developed entirely by human experts through workshop consensus, with no AI involvement. The exercise was designed as a direct benchmark: where does this project’s AI-assisted, seed-paper-driven TAPP development workflow already agree with an independently-produced, 100%-human community standard, and where does it diverge?

Headline finding: of the 33 comparable metadata items in Table 3, 24 (72.7%) were already fully captured by this project’s existing LA-Q/SF-ICP-MS TAPP and/or the MC-ICP-MS-specific portions of the Solution MC-ICP-MS TAPP — before either paper was consulted for this exercise. A further 2 items (6.1%) were partially captured, and 7 (21.2%) were genuine gaps — of which one (common-Pb correction) is an expected scope boundary rather than a shortfall, since neither reference TAPP targets geochronology specifically.

Where the two development approaches diverged, the differences clustered tightly around two themes — plasma-interference QC monitoring and signal-selection/interference-correction provenance — rather than being scattered randomly across the field set. This pattern is more consistent with the AI-assisted workflow having matured through many iterative review cycles than with any systematic blind spot specific to geochronology.

A follow-on experiment split the resulting TAPP by ICP-MS instrument type (quadrupole, sector-field, multi-collector). 96 of 122 fields (78.7%) proved to be fully general across all three instrument types, with only 26 fields requiring instrument-specific scoping. This is a data-backed argument for keeping related instrument variants inside one TAPP rather than three parallel documents — consistent with, and now validated against, existing project practice.

The exercise also surfaced one durable improvement to the project’s TAPP library: a new field, “Constants and Reference Values Used” (documenting decay constants and other citable, revisable physical constants), has since been adopted as a mandatory field across all TAPPs in the project.

# Contents

Executive Summary

1. Background and Motivation

2. Source Material

2.1 The human-derived reference standard

2.2 Existing AI-led TAPPs used as comparison points

3. Methodology

3.1 Building the TAPP from Table 3

3.2 Dual-provenance labeling

3.3 Tier assignment methodology

4. Scope and Structure of the Resulting TAPP

4.1 Technique scope

4.2 Version evolution

4.3 Field distribution by group (v6)

4.4 Composition by provenance

5. Comparison with Existing AI-Led ICP-MS TAPPs

5.1 Table 3 item-by-item capture status

5.2 What existing TAPPs contributed beyond Table 3

5.3 Why the approaches diverge: three explanations, weighed

6. Separating the TAPP by ICP-MS Instrument Type

6.1 Method

6.2 Result: the separation is clean, and the shared core dominates

6.3 A structural finding: parent fields can be general even when their detail is instrument-scoped

6.4 Implication for TAPP architecture

6.5 Postscript (2026-07-29): collision/reaction cells on modern MC-ICP-MS

7. Lessons Learned

7.1 Process lessons for future TAPP comparisons

7.2 A durable outcome: a new mandatory cross-TAPP field

8. Conclusions

# 1. Background and Motivation

A Technique-Aligned Procedure Profile (TAPP) is this project’s structured metadata framework for documenting an analytical technique at two levels: the procedure (the standing set of guidelines specifying how a technique is applied, registerable with a DOI) and the analysis (the specific execution of that procedure on a given sample, on a given date). TAPPs are the primary metadata deliverable for the Astromat/EarthChem method-metadata infrastructure, and to date have been developed through an AI-assisted workflow: seed papers and existing procedure templates inform a preliminary draft, which is then refined through structured human review and validated against a literature assessment of application papers.

This experiment set that workflow against a different kind of input: Horstwood et al. (2016), a widely-cited community reporting standard for LA-ICP-MS U-(Th-)Pb geochronology, produced through in-person workshops among practicing geochronologists with no AI assistance at any stage. Its Table 3 (“Recommended reporting template (metadata) for LA-ICP-MS U-(Th-)Pb data”) is, in effect, an independent, human-only answer to the same question this project’s TAPP workflow is built to answer: what metadata must be reported for a procedure to be reproducible and trustworthy?

Building a TAPP directly from that table — and only from that table, without supplementing it from other literature the way a normal TAPP development cycle would — created a clean comparison point. Two additional questions followed naturally from the result: how does the resulting TAPP relate to this project’s existing ICP-MS TAPPs, and how cleanly can a single geochronology TAPP be separated by the underlying ICP-MS mass-analyzer type (quadrupole, sector-field, multi-collector)?

# 2. Source Material

## 2.1 The human-derived reference standard

Horstwood, M.S.A., Kosler, J., Gehrels, G., Jackson, S.E., McLean, N.M., Paton, C., Pearson, N.J., Sircombe, K., Sylvester, P., Vermeesch, P., Bowring, J.F., Condon, D.J. & Schoene, B. (2016). Community-Derived Standards for LA-ICP-MS U-(Th-)Pb Geochronology – Uncertainty Propagation, Age Interpretation and Data Reporting. Geostandards and Geoanalytical Research, 40(3), 311–332. doi:10.1111/j.1751-908X.2016.00379.x

The paper’s author list spans thirteen geochronologists from leading LA-ICP-MS facilities (NERC Isotope Geosciences Laboratory/BGS, University of Arizona, Geological Survey of Canada, University of Kansas, University of Copenhagen, Macquarie University/GEMOC, Geoscience Australia, Texas Tech University, University College London, College of Charleston, and Princeton University), reflecting a genuine cross-laboratory consensus rather than a single lab’s house style. Its Table 3 is explicitly framed by the authors as “the recommended minimum metadata types to be submitted for publication” — a floor for adequate reporting, not an exhaustive best-practice checklist.

## 2.2 Existing AI-led TAPPs used as comparison points

LA-Q/SF-ICP-MS TAPP (v4.1 at the time of this comparison; now v5 after a subsequent cross-TAPP retrofit unrelated to geochronology) — covers laser ablation coupled to single-collector quadrupole and sector-field ICP-MS for multi-element trace/major-element chemistry. Developed from seed papers and literature assessment against 13 procedures from 10 papers. Not built for geochronology.

Solution MC-ICP-MS TAPP (v3 at the time of this comparison; now v5 after two subsequent updates unrelated to the Table 3 comparison — see Section 6.5) — covers solution-introduction multi-collector ICP-MS for high-precision isotope ratio and isotope dilution work (Fe, U, Sn, Pb, Zn, and other systems). Included in this comparison specifically because LA-Q/SF-ICP-MS has no multi-collector coverage, and Horstwood et al.’s own worked example instrument is a multi-collector system (Nu Instruments Nu Plasma HR).

Both are pre-existing, independently-developed TAPPs — neither was built with U-(Th-)Pb geochronology, nor Horstwood et al. (2016), in mind.

# 3. Methodology

## 3.1 Building the TAPP from Table 3

Every item in Table 3 was mapped into this project’s standard six-group TAPP structure (Procedure Identification, Samples, Instrument & Software, Measurement Information, Data Processing, Quality Control & Uncertainty) without splitting, merging, or adding to the paper’s own content in the first pass. Table 3’s own five internal sections (laboratory/sample preparation, laser ablation system, ICP-MS instrument, data processing, and other information) do not correspond one-to-one with the TAPP’s six groups by design — remapping them was itself part of the exercise, since it tests whether the project’s group structure can accommodate an independently-organized source.

Fields required by every TAPP regardless of source paper (Group 1 identity fields, the mandatory Analytical Mode field, standard Group 2/3/6 field names) were then added and distinctly labeled, so that paper-derived and in-house-mandated content remain traceable to their origin throughout the CSV’s Comments column.

## 3.2 Dual-provenance labeling

Every field in the resulting TAPP carries a source label distinguishing five provenance categories, allowing the TAPP’s composition to be audited field-by-field rather than taken on faith:

Paper-direct — transcribed from Table 3 without modification

Paper-split/restructured — derived from Table 3 content that was renamed, merged, or split for cross-TAPP consistency (e.g., to match the LA-Q/SF-ICP-MS TAPP’s field-naming conventions)

In-house template — mandatory fields required in every TAPP regardless of technique (Group 1 identity fields, Analytical Mode, standard QC field names)

Imported from LA-Q/SF-ICP-MS TAPP — fields with no Table 3 precedent, adopted from the existing quadrupole/sector-field trace-element TAPP

Imported from Solution MC-ICP-MS TAPP — fields with no Table 3 precedent, adopted from the existing multi-collector solution TAPP

## 3.3 Tier assignment methodology

Every TAPP field carries two tier values: a Procedure-Level Tier (Basic = mandatory for procedure registration; Advanced = recommended but optional; N/A = not applicable at procedure level) and an Analysis-Level Tier (Read-Only, Editable, Basic, or Advanced). Tier assignment in this TAPP followed source-dependent rules rather than a single blanket policy:

| Source category | Procedure-Level Tier rule | Rationale |
| --- | --- | --- |
| Paper-direct / paper-split content | Basic | Horstwood et al. (2016) explicitly frame Table 3 as “the recommended minimum metadata types” — a minimum-reporting standard maps directly to Basic (mandatory for registration), not Advanced. |
| In-house template fields | As specified by existing cross-TAPP rules | Group 1 identity fields, Analytical Mode, and standard QC field names follow the tier assignments already fixed by convention across all TAPPs. |
| Imported from LA-Q/SF-ICP-MS or Solution MC-ICP-MS | Advanced by default, regardless of the source TAPP’s own tier | A field being mandatory for general trace-element or general isotope-ratio work does not establish that it is equally mandatory for geochronology specifically. Advanced is the conservative default pending expert review; several candidates for promotion to Basic are flagged in Section 5. |
| New fields with no precedent in any source (e.g., a mathematical mass-fractionation law) | Advanced | No existing content — paper, in-house rule, or sibling TAPP — establishes this as mandatory; treated with the same caution as an import. |

Table 1. Tier assignment rules by field provenance.

This produced a deliberately asymmetric TAPP: content traceable to the human-derived standard defaults to mandatory, while content contributed by the AI-assisted comparison process defaults to optional until a domain expert confirms otherwise. This asymmetry is itself falsifiable — Section 5 identifies which imported fields are strong candidates for promotion, based on how central they are to data quality in practice.

# 4. Scope and Structure of the Resulting TAPP

## 4.1 Technique scope

The TAPP covers LA-ICP-MS U-(Th-)Pb geochronology in situ spot analysis, deliberately scoped to match Horstwood et al.’s own title and content rather than any one mass-analyzer configuration: quadrupole (Q-ICP-MS), single-collector sector-field (SF-ICP-MS), and multi-collector (MC-ICP-MS) instruments are all in scope, distinguished where necessary by instrument-specific fields (Section 6) rather than by separate documents. The technique is scoped to static spot ablation only; depth-profiling and single-pulse ablation, mentioned in Table 3 as a variant used by some laboratories, are documented as descriptive context within relevant fields rather than as a second formal analytical mode, since geochronology is overwhelmingly spot-based in practice.

## 4.2 Version evolution

| Version | Fields | Key change |
| --- | --- | --- |
| v1 | 61 | Initial build: Table 3 items mapped into the six-group structure; in-house mandatory fields added and distinctly labeled. |
| v2 | 57 | Four fields that duplicated existing in-house standard fields (e.g., a paper-derived “Laboratory name” alongside the in-house “Laboratory” field) were merged, keeping the in-house name for cross-TAPP consistency. |
| v3 | 121 | Fields imported from LA-Q/SF-ICP-MS TAPP and Solution MC-ICP-MS TAPP following full field-by-field comparison (Section 5); several fields renamed or split to match sibling-TAPP conventions. |
| v4 | 121 | Added Q-ICP-MS / SF-ICP-MS / MC-ICP-MS flag columns (mirroring the existing Spot/Transect/Mapping mode-flag mechanism), enabling the instrument-type separation analysis in Section 6. |
| v5 | 122 | Added “Constants and Reference Values Used” (Section 7) — the field later adopted project-wide as a mandatory cross-TAPP rule. |
| v6 | 122 | Retagged 6 collision/reaction-cell fields (Group 3/4) from Q-ICP-MS-only to Q-ICP-MS + MC-ICP-MS, after verifying that modern MC-ICP-MS instruments (Nu Sapphire, Thermo Neoma MS/MS) carry the same cell technology. Signal Collection Mode confirmed to remain Q-ICP-MS-only (Section 6.5). |

Table 2. Field count by version.

## 4.3 Field distribution by group (v6)

| Group | Fields |
| --- | --- |
| 1. Procedure Identification | 17 |
| 2. Samples | 6 |
| 3. Instrument & Software | 20 |
| 4. Measurement Information | 48 |
| 5. Data Processing | 22 |
| 6. Quality Control & Uncertainty | 9 |
| Total | 122 |

Table 3. Final field distribution by TAPP group.

## 4.4 Composition by provenance

Two different questions can be asked about this TAPP’s composition, and they are easy to conflate: how much of the final 122-field TAPP traces to each source (a question about this document), versus how much of Table 3’s original content was already present in existing TAPPs (a question about the AI-led workflow’s prior coverage, addressed in Section 5). This subsection addresses the first; Section 5 addresses the second.

| Source | Fields | % of total |
| --- | --- | --- |
| Paper-direct (Table 3, unmodified) | 14 | 11.5% |
| Paper-split/restructured (Table 3, renamed or split) | 21 | 17.2% |
| In-house template (mandatory in every TAPP) | 29 | 23.8% |
| Imported from LA-Q/SF-ICP-MS TAPP | 46 | 37.7% |
| Imported from Solution MC-ICP-MS TAPP | 12 | 9.8% |
| Total | 122 | 100% |

Table 4. Final TAPP composition by field provenance.

# 5. Comparison with Existing AI-Led ICP-MS TAPPs

This section addresses the question motivating the whole exercise: of Table 3’s original metadata items — excluding Group 1 identity fields, which are governed by in-house rules common to every TAPP regardless of technique — how many were already captured by this project’s existing AI-led TAPPs before Horstwood et al. (2016) was ever consulted?

## 5.1 Table 3 item-by-item capture status

Table 3 contains 35 items in total. One (“Laboratory name”) is a Group 1 identity field and is excluded per the scope of this comparison. Of the remaining 34, one (“Other information”) is an unstructured free-text catch-all not amenable to a captured/missed classification and is reported separately. The remaining 33 items form the basis of the statistics below.

Figure 1. Table 3 coverage by existing AI-led TAPPs (n = 33).

| # | Table 3 item | Grp | Status | Captured by | Note |
| --- | --- | --- | --- | --- | --- |
| 1 | Sample type/mineral | 2 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | Target Material (both TAPPs) |
| 2 | Sample preparation | 2 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | Sample Preparation Method (both TAPPs) |
| 3 | Imaging | 2 | Missed | — | No CL/BSE pre-characterization field in either TAPP |
| 4 | Make, Model and Type (laser) | 3 | Full | LA-Q/SF-ICP-MS | Laser Manufacturer & Model + Laser Wavelength and Type (different split, no info lost) |
| 5 | Ablation cell and volume | 3 | Partial | LA-Q/SF-ICP-MS | Captures cell type but not volume explicitly |
| 6 | Laser wavelength (nm) | 3 | Full | LA-Q/SF-ICP-MS | Laser Wavelength and Type |
| 7 | Pulse width (ns) | 4 | Full | LA-Q/SF-ICP-MS | Laser Pulse Duration |
| 8 | Fluence (J cm⁻²) | 4 | Full | LA-Q/SF-ICP-MS | Laser Fluence (Energy Density) |
| 9 | Repetition rate (Hz) | 4 | Full | LA-Q/SF-ICP-MS | Laser Repetition Rate |
| 10 | Ablation duration (s) | 4 | Full | LA-Q/SF-ICP-MS | Ablation Duration per Spot |
| 11 | Ablation pit depth/ablation rate | 4 | Missed | — | No pit-depth or ablation-rate field in either TAPP |
| 12 | Spot diameter, nominal/actual | 4 | Partial | LA-Q/SF-ICP-MS | Captures nominal/target only, not a measured companion value |
| 13 | Sampling mode/pattern | 4 | Full | LA-Q/SF-ICP-MS | Laser Spot Path / Ablation Mode + Analytical Mode |
| 14 | Carrier gas | 4 | Full | LA-Q/SF-ICP-MS | Carrier Gas and Flow Rate (combined field, no info lost) |
| 15 | Cell carrier gas flow | 4 | Full | LA-Q/SF-ICP-MS | Carrier Gas and Flow Rate (combined field, no info lost) |
| 16 | Make, Model and Type (ICP-MS) | 3 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | ICP-MS Manufacturer & Model + ICP-MS Type (both TAPPs) |
| 17 | Sample introduction | 3 | Missed | — | Tracer/spike co-aspiration concept not present as a hardware field in either TAPP |
| 18 | RF power | 4 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | RF Power (both TAPPs) |
| 19 | Make-up gas flow | 4 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | Plasma/Make-up Gas Addition (both TAPPs) |
| 20 | Detection system | 3 | Full | LA-Q/SF-ICP-MS | Detector Configuration |
| 21 | Masses measured | 4 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | Analyte + Monitored Isotopes / Collector Configuration |
| 22 | Integration/dwell/settling time | 4 | Full | LA-Q/SF-ICP-MS | Dwell Time per Mass (sequential-acquisition concept; not applicable to MC’s static collection) |
| 23 | Total integration time per output point | 4 | Missed | — | No direct field (partially derivable from Solution MC-ICP-MS block/cycle fields, not stated directly) |
| 24 | ‘Sensitivity’ as useful yield | 4 | Missed | — | No instrument-sensitivity/useful-yield metric field in either TAPP |
| 25 | IC Dead time | 4 | Missed | — | LA-Q/SF-ICP-MS has a related correction-decision field, but not the raw dead-time value |
| 26 | Gas blank | 5 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | Blank/Background Correction Method (both TAPPs) |
| 27 | Calibration strategy | 6 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | Primary Calibration Standard Name + Secondary Reference Materials (both) |
| 28 | Reference Material information | 6 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | Same fields as above; citation/accepted-value content preserved |
| 29 | Data processing package/LIEF | 5 | Full | LA-Q/SF-ICP-MS | Elemental Fractionation Correction + Data Reduction Software |
| 30 | Mass discrimination | 5 | Full | Solution MC-ICP-MS only | Mass Bias Correction Strategy + Internal Normalization Element and Isotope Ratio |
| 31 | Common-Pb correction, composition, uncertainty | 5 | Missed | — | No analog in either TAPP — expected, geochronology-specific step |
| 32 | Uncertainty level and propagation | 5 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | Uncertainty Propagation Method (both, same tier independently) |
| 33 | Quality control/Validation | 6 | Full | LA-Q/SF-ICP-MS; Solution MC-ICP-MS | Split into 3-way precision/accuracy structure independently in both TAPPs |
| 34 | Other information | 4 | N/A | — | Free-text catch-all; excluded from capture-rate statistics |

Table 5. Full item-by-item capture status for all 34 non-Group-1 Table 3 items. Green = fully captured, orange = partially captured, red = missed, gray = not comparable (excluded from statistics).

### Summary statistics

| Outcome | Count | % of 33 |
| --- | --- | --- |
| Fully captured | 24 | 72.7% |
| Partially captured | 2 | 6.1% |
| Fully or partially captured | 26 | 78.8% |
| Missed | 7 | 21.2% |
| — of which expected scope boundary (common-Pb correction) | 1 | 3.0% |
| — of which addressable gap | 6 | 18.2% |

Table 6. Summary statistics, n = 33 comparable items.

| Captured by | Count |
| --- | --- |
| LA-Q/SF-ICP-MS TAPP only | 14 |
| Solution MC-ICP-MS TAPP only | 1 |
| Both TAPPs independently | 11 |
| Neither (missed) | 7 |

Table 7. Which existing TAPP(s) captured each item. Item 30 (mass discrimination) would have registered as a miss had the comparison been limited to LA-Q/SF-ICP-MS alone — it was recovered only by extending the comparison to Solution MC-ICP-MS, underscoring the value of comparing against more than one existing TAPP.

## 5.2 What existing TAPPs contributed beyond Table 3

The reverse direction is equally informative: of the 58 fields imported into this TAPP from LA-Q/SF-ICP-MS (46) and Solution MC-ICP-MS (12), most reflect either finer operational/QC granularity within categories both approaches already share (rather than a fundamentally different metadata schema) or instrument-hardware clusters specific to a single mass-analyzer type. The most consequential clusters:

Plasma-interference QC monitoring (7 fields) — oxide production and doubly-charged species monitoring, including the mass-resolution cluster. ThO⁺/Th⁺ tuning in particular is standard modern practice and directly affects Th/U ratio accuracy, central to U-Th-Pb dating; its complete absence from Table 3 looks like a genuine gap in the paper rather than a deliberate omission.

Signal-selection and interference-correction provenance (9 fields) — Signal Integration Interval Method, Spike/Outlier Filtering, and the isobaric-interference trio. Signal selection is arguably the single most consequential data-reduction decision in LA-ICP-MS U-Pb work, and is directly relevant to the excess-scatter/MSWD discussion Horstwood et al. devote substantial text to — yet it never became a structured Table 3 item.

Instrument-specific hardware clusters (23 fields) — the collision/reaction-cell cluster (now known to apply to Q-ICP-MS and MC-ICP-MS alike, not Q-ICP-MS alone — see Section 6.5), the SF-ICP-MS resolution/E-scan cluster, and the MC-ICP-MS Faraday-cup/block-cycle/double-spike clusters (Section 6).

## 5.3 Why the approaches diverge: three explanations, weighed

Three possible explanations for the residual differences were considered: (1) under-representation of geochronology in the AI workflow’s seed-paper corpus, (2) a systematic bias in the AI-assisted process toward certain kinds of metadata, or (3) an asymmetry in how much development each source had been through. The evidence favors the third explanation, with a modest contribution from the first in one specific area:

Not primarily under-representation of geochronology seed papers. Neither LA-Q/SF-ICP-MS nor Solution MC-ICP-MS was built with geochronology in mind, yet together they already covered 79% of Table 3’s substantive content — including, in the case of mass discrimination, a concept that is geochronology-critical but was captured via a TAPP built for entirely different isotope systems (Fe, U, Sn, Pb, Zn isotope ratios).

A modest, geochronology-specific gap does remain in one area: the common-Pb correction step is unique to U-Pb dating and, appropriately, absent from both general-purpose reference TAPPs. This is the one miss best attributed to domain-specific scope rather than to a workflow shortfall.

Production-process asymmetry is the strongest explanation for the remainder. LA-Q/SF-ICP-MS TAPP v4.1 is the product of at least four real development rounds (spanning May–July 2026), each of which explicitly searches for missing metadata items during its literature-assessment phase. Horstwood et al. (2016) is a single, static, one-time community consensus output, deliberately scoped as a minimum reporting bar to maximize adoption, never revised since publication. Comparing a multiply-iterated living document against a ten-year-old, deliberately minimal, one-shot standard will show a gap of this kind almost regardless of domain.

# 6. Separating the TAPP by ICP-MS Instrument Type

A separate experiment tested how cleanly the combined TAPP could be separated into three instrument-specific views — one each for quadrupole, sector-field, and multi-collector ICP-MS — motivated by a practical requirement: users need to be able to filter which fields they are asked to report based on the instrument they actually used, without being prompted for irrelevant fields or missing fields genuinely relevant to their instrument.

## 6.1 Method

Rather than manually authoring three separate documents, three flag columns (Q-ICP-MS / SF-ICP-MS / MC-ICP-MS) were added to the master TAPP, mirroring the existing mode-flag mechanism this project already uses for Spot/Transect/Mapping filtering in other TAPPs. Every field was classified for applicability to each instrument type; three filtered sub-TAPPs were then generated mechanically from those flags, rather than maintained as independent documents.

## 6.2 Result: the separation is clean, and the shared core dominates

Figure 2. Field applicability by ICP-MS instrument type (v6, n = 122).

| Category | Fields | % of 122 |
| --- | --- | --- |
| General — applies to all three instrument types | 96 | 78.7% |
| MC-ICP-MS only | 13 | 10.7% |
| Q-ICP-MS + MC-ICP-MS (not SF) | 6 | 4.9% |
| SF-ICP-MS only | 3 | 2.5% |
| Q-ICP-MS + SF-ICP-MS (not MC) | 3 | 2.5% |
| Q-ICP-MS only | 1 | 0.8% |

Table 8. Field classification by ICP-MS instrument-type applicability (v6). The Q-ICP-MS + MC-ICP-MS and Q-ICP-MS-only rows reflect the collision/reaction-cell reclassification described in Section 6.5.

| Sub-TAPP | Fields retained | % of full TAPP |
| --- | --- | --- |
| Q-ICP-MS | 106 | 86.9% |
| SF-ICP-MS | 102 | 83.6% |
| MC-ICP-MS | 109 | 89.3% |

Table 9. Size of each filtered sub-TAPP.

Each instrument-specific sub-TAPP retains 84–89% of the full field set — the separation is clean in the sense that no group ends up empty or degenerate for any instrument, but it also demonstrates that there is no fundamentally different metadata schema per instrument. What differs is a well-bounded set of hardware and acquisition-architecture fields, not the technique’s conceptual core (sample handling, laser operation, common-Pb correction, calibration, and QC are shared by all three).

## 6.3 A structural finding: parent fields can be general even when their detail is instrument-scoped

The clearest illustration from this exercise is the mass-bias-correction field cluster. The top-level strategy field (“Mass Bias Correction Strategy” — sample-standard bracketing, double-spike, internal normalization, or a combination) applies to every instrument type, since every procedure needs some strategy. Its detail companions — “Internal Normalization Element and Isotope Ratio” and the double-spike trio — are practically MC-ICP-MS-only, because typical dry-aerosol quadrupole or sector-field geochronology corrects mass bias via sample-standard bracketing and never touches either. A single field can therefore have a universal parent concept with practically instrument-scoped children; blanket-tagging a whole related cluster as “instrument-specific” would have missed this.

## 6.4 Implication for TAPP architecture

This project’s existing convention already keeps quadrupole and sector-field trace-element work inside one combined TAPP (LA-Q/SF-ICP-MS), splitting out only multi-collector work as a separate future TAPP. The result above is a direct, data-backed argument for extending the same logic to geochronology: given that 78.7% of fields are fully shared and no instrument-specific cluster exceeds 13 fields, three parallel documents would duplicate the vast majority of their content. The flag-column mechanism demonstrated here — not three separate TAPPs — is recommended as the production path for instrument-based field filtering.

## 6.5 Postscript (2026-07-29): collision/reaction cells on modern MC-ICP-MS

A follow-up question after this experiment’s initial results noted that a small number of modern MC-ICP-MS instruments — Nu Instruments Sapphire and Thermo Scientific Neoma MS/MS — carry a hexapole collision/reaction cell (CRC), the same interference-suppression technology this TAPP’s CRC-cluster fields (Section 5.2) were originally scoped to quadrupole instruments only, inheriting that scope from LA-Q/SF-ICP-MS TAPP. Verified against both instruments’ published specifications: six of the seven CRC-cluster fields were reclassified in v6 from Q-ICP-MS-only to Q-ICP-MS + MC-ICP-MS (Table 8 and Figure 2 reflect this update). The seventh, Signal Collection Mode, was confirmed to remain Q-ICP-MS-only: even a CRC-equipped MC-ICP-MS still performs genuinely simultaneous multi-collection, so sequential peak-hopping/scanning does not apply regardless of whether a cell is present upstream. The same six fields were added new to Solution MC-ICP-MS TAPP (v4→v5), which previously had no CRC-related fields at all. No change was warranted for single-collector SF-ICP-MS, which shows no evidence of CRC adoption in current commercial instruments and remains purely resolution-based.

A related, more novel finding did not lead to a field change: Neoma MS/MS’s pre-cell mass filter is a double Wien filter (a crossed electric/magnetic-field velocity selector), not a quadrupole, and has no corresponding field in any TAPP in this library. It is noted here as a candidate for future field development rather than implemented in this pass. Taken together, this postscript is offered as a small demonstration of the workflow’s ability to incorporate a specific, evidence-based correction once a domain expert raises it, without disturbing the surrounding TAPP structure.

# 7. Lessons Learned

## 7.1 Process lessons for future TAPP comparisons

Always check a TAPP's own development log before treating a cross-TAPP field discrepancy as a bug.

Two of three apparent tier inconsistencies found between this TAPP and LA-Q/SF-ICP-MS turned out to be intentional, already-documented design decisions from a prior consistency pass (a Guard Electrode tier difference justified by solid-sample ablation producing larger plasma load fluctuations; a Dwell Time per Mass tier difference justified by mapping mode requiring analyst adjustment, a mode solution ICP-MS does not have). Only the third — a stale field description contradicting its own tier — was a genuine bug. Reading the target TAPP’s own change history before proposing a fix would have avoided drafting two incorrect reversions.

When comparing against a new reference TAPP, re-run the full three-way check against the target’s existing fields, not just a name-match check.

A field from Solution MC-ICP-MS (“Mass Bias Correction Strategy”) was initially logged as “no equivalent, correctly domain-specific” against this TAPP’s own “Mass Discrimination” field, when it was in fact a split candidate at a different level of granularity — the same class of relationship correctly identified in an earlier comparison round against a different reference TAPP. The lesson generalizes: 1:1 match, split-of-an-existing-field, and genuinely-absent are three distinct outcomes, and skipping the middle category is an easy, repeatable mistake when moving to a new comparison target.

Verify which file is actually current before comparing against or retrofitting it.

An early comparison pass was run against a file that appeared current (highest version number, recent-looking timestamp) but was in fact a stale, frozen branch of the same TAPP lineage under an old folder name, abandoned after a mid-project rename with no further real development. The comparison had to be rebuilt once this was discovered via direct file-timestamp and field-overlap verification. The general rule: confirm the actual current version of any file with direct evidence (timestamps, content diffs) rather than trusting a filename, a version number, or a prior session’s memory of what was current.

## 7.2 A durable outcome: a new mandatory cross-TAPP field

Table 3's own data-reporting companion table (Table 4) carries a footnote citing the decay constants used in age calculation — information the metadata template (Table 3) itself never asks for as a structured item. This gap generalizes beyond geochronology: any technique whose final reported quantity depends on a citable, periodically-revised physical constant (decay constants, standard isotope ratios such as the ²³⁸U/²³⁵U value revised by Hiess et al. 2012) needs the same traceability. A new field, “Constants and Reference Values Used,” was accordingly proposed and has since been adopted as a mandatory field (Rule 5 in this project’s cross-TAPP conventions) across all TAPPs in the library, not only the geochronology test TAPP that surfaced the need.

# 8. Conclusions

A LA-ICP-MS U-(Th-)Pb Geochronology TAPP built entirely from a 100%-human, workshop-derived community reporting standard (Horstwood et al. 2016) overlaps substantially with this project’s existing AI-led ICP-MS TAPPs: 78.8% of Table 3’s comparable metadata items were already fully or partially captured before the paper was consulted.

Where gaps exist, they concentrate in two identifiable themes — plasma-interference QC monitoring and signal-selection/interference-correction provenance — rather than appearing as scattered, unexplained omissions, and one of the seven misses (common-Pb correction) is an expected scope boundary rather than a shortfall.

The pattern of agreement and divergence is better explained by production-process asymmetry (a multiply-revised living document compared against a static, deliberately minimal, decade-old standard) than by any geochronology-specific blind spot in the AI-assisted workflow.

Splitting the resulting TAPP by ICP-MS instrument type is mechanically clean, but the result argues against doing so in production: 78.7% of fields are fully general across quadrupole, sector-field, and multi-collector instruments, supporting the existing project convention of keeping related instrument variants inside one TAPP with instrument-aware field flags rather than as separate documents.

The exercise produced one concrete, durable improvement to the TAPP library independent of the comparison itself: a new mandatory field for traceability of citable physical constants, now adopted project-wide.

Taken together, these results are offered as evidence that this project’s AI-assisted TAPP development workflow, though never targeted at U-(Th-)Pb geochronology specifically, converges closely with an independent, expert-consensus standard for the same technique family — and that the residual differences are legible, explainable, and in several cases already actionable improvements to both the test TAPP and the project’s production TAPPs.